## Eng
Lab equipment | Brand | Model | Serial number | Comments
Air Compressor | AVENGER | NA |  | Analytical lab
Analytical balance | Scientech | SA-80 | 18906 | Analytical lab
Analytical balance | Mettler | PM34 |  | Analytical lab
Analytical balance | Mettler | PB303-S | 11212111J6 | Analytical lab
Analytical balance | Mettler | PM460 | H11675 | Analytical lab
Analytical balance | Sartorius | Entris 2244I-1S |  | Analytical lab
Analytical balance | Sartorius | Entris 201-1S |  | Analytical lab
Autoclave, Sterilizer | Market Forge Sterlimatic | STM-E / 208 240 | 5/88 | Oven's room
Autoclave 45L, 110V | GENIUS | GENIUS 45L JX8670A/EA | GENIUS 45L JX8670A/EA | Oven's room
Basic analytical mill | IKA | A11BS001 | 3.4364 | Analytical lab
Battery charger | Radio Shack | N/A | 02A06 | Analytical lab
Battery charger | Dayton | 4KC93N | N/A | Analytical lab
Battery charger / Double voltage | Ludger | LBC-12M | N/A | Analytical lab
Centrifuge | Eppendorf | 5702 | 5702HJ446091 | Analytical lab
Centrifuge | Brinkmann | 3200 |  | Analytical lab
Centrifuge | IEC | 235525551 | 235525551 | Analytical lab
Centrifuge | Tomy Kogyo | 905027 | 905027 | Analytical lab
Centrifuge | Clay Adams | 149108 | 149108 | Analytical lab
Centrifuge | Eppendorf | 5415D | 5425-36740 | Microbial Lab
Compact Digital Dry Bath/Block Heater | Thermo Sc. | Compact Drybath 100-120D. | ECGT02043 | Microbial Lab
Compact Digital Dry Bath/Block Heater | Thermo Sc. | Compact Drybath 100-120D | ECGT02023 | Molecular Lab
Desiccator (Portable) | Sanplatec | NA |  | Analytical lab
Desiccator (Portable) | Sanplatec | NA |  | Analytical lab
Direct-Drive Vacuum Pump | Fisher Scientific | 6824 | 300026021 | Analytical lab
Dissolved oxygen meter | YSI | Pro 2030 | 13J100412 | Analytical lab
Dissolved oxygen meter | YSI | Pro 2030 | 13C100442 | Analytical lab
Dry ice maker |  | Thermo Safe |  | Analytical lab
Drying oven | Presicion Scientific | PS | N/A | Oven's room
Drying oven | Fisher Scientific |  | 1507 | Oven's room
Drying oven | Fisher Scientific | 127G | 12282 | Oven's room
Drying oven | Fisher | 637G | 805N0081 | Oven's room
Drying oven | Precision | 17 | 21-AL3 | Oven's room
Drying oven | YAMATO INC. | AC299187 | DX601B7300129 | Oven's room
Drying oven | YAMATO INC. | AC299187 | DX601B7300130 | Oven's room
Drying oven | YAMATO INC. | AC299187 | DX601B7300128 | Oven's room
Drying oven | Sharp | R-202EL | 020310951 | Oven's room
Drying Oven ST G80) | Precision Scientific Inc. | STG80 | 23-AW-5 | Oven's room
Electrophoresis chamber | OWL Corporation System | A2 | 145523 | Molecular Lab
Electrophoresis Power Supply | Fisher Biotech | FB154 | 71426 | Molecular Lab
Electrophoresis Power Supply | Fisher Biotech | FB154 | 76810 | Molecular Lab
Electrophoresis Power Supply | Fisher Biotech | FB154 | 76813 | Molecular Lab
Electrophoresis Power Supply | Fisher Biotech | FB154 | 76811 | Molecular Lab
Electrophoresis Power Supply | Fisher Biotech | FB154 | 74974 | Molecular Lab
Fiber optic illuminator | N/A | N/A | 0535110108110005 | Analytical lab
Fiber optic illuminator | Fiberoptic Speciaties Inc | LS87/ 110 | 43930016 | Analytical lab
Fiber optic illuminator | Dolan-Jenner | 4715MS-12V-B10 | N/A | Analytical lab
Fiber optic illuminator | FIBER-LITER | 4715MS-12W-B10 | N/A | Analytical lab
Fiber optic illuminator | NCL-150 | N/A | 4010180 | Analytical lab
Fiber optic illuminator | Fiberoptic Specialties | LS87/110 | 43930010 | Analytical lab
Fiber optic illuminator | NIKON | N/A | 593095 | Analytical lab
Fiber optic illuminator | Fiberoptic | LS87-110 | 48930021 | Analytical lab
Fiber optic illuminator | Fiberoptic | LS87-110 | 48930027 | Analytical lab
Fume hood | LABCONCO | 9840401-9902000 | 110542203B/110643982B | Analytical lab
Fume hood | LABCONCO | 9901100 | 110541920B/110542369A/110542368A | Analytical lab
Furnace oven | Thermoline | F6010 | 151919901150513 | Oven's room
Gas Chromotograph (FID and TCD detectors) | Agilent | 7890B | CN15063164 | Analytical lab
Homogenizer bead beater | Bead Bug | D1030 | 1143051053 | Microbial Lab
Horizontal shaker | Ebercach | 6000 | 110213 | Analytical lab
Ice crusher | Oster |  |  | Analytical lab
Incubador 2.1 CU 100-120 V | AIR JACKETD | N/A | AirJacketed JX14630A | Microbial Lab
Incubator | Thermo | Heratherm IGS100 | 41769846 | Microbial Lab
Inverted microscope | Zeiss | Primovert | 3842003451 | Microbial Lab
Laminar flow hood | LABCONCO | 3610004 | 030503322P | Microbial Lab
Leaf Area Meter | LI-COR | 3100Meter | Lam1429 | Analytical lab
Liquid nitrogen dewar | Taylor - Wharton |  |  | Analytical lab
Liquid nitrogen dewar | MUE Cryogenics |  |  | Analytical lab
Magnetic stirrer | Corning | PC-510 |  | Analytical lab
Magnetic stirrer | Magnestir | S8290 | ND | Analytical lab
Magnetic stirrer with hot plate | Thermolyne | SPA1025B | 1138051223918 | Analytical lab
Magnetic stirrer with hot plate | Corning | PC-320 | 4045858 | Analytical lab
Mega-Pure Water Stills | Corning | MP3-A | 5365 | Analytical lab
Microscope | Nikon | Optiphot-2 | 150374 | Analytical lab
Microscope | Olympus |  |  | Analytical lab
Microscope | Ernst Leitz Wetzlar | SML-1 | 665969 | Analytical lab
Microscope | Motic | BA310E | 1470001011 | Analytical lab
Microscope | Ernst Leitz Wetzlar | Laborlux 11 / 513591 | 020-435.028 | Analytical lab
Microscope camera | Amscope | MU1400 | 14102900127 | Analytical lab
Microscope camera | Amscope | MU1400 | 14102900147 | Analytical lab
Mini centrífuge | Fisher Scientific | SPROUT | HSC33517 | Analytical lab
Mini centrífuge | Fisher Scientific | SPROUT | HSC33516 | Analytical lab
PCR cabinet | Esco | SCR-2A2 |  | Molecular Lab
PCR System | Perkin-Elmer | 9600 | 6098 | Molecular Lab
pH meter | Fisher Scientific | Acumet AB150 | AB92346094 | Microbial Lab
PH Meter | HANNA | PH211 | 355852 | Analytical lab
Radio Comunicación | Motorola | EP450 | 442THJQ238 | Lab Manager
Radio Comunicación | Motorola | EP450 | 018TDWC670 | Lab Manager
Radio Comunicación | ICOM | IC-F24 | 0769343 | Lab Manager
Radio Comunicación | ICOM | IC-F24 | 0769342 | Lab Manager
Radio Comunicación | ICOM | IC-F24 | 0765387 | Lab Manager
Radio Comunicación | Motorola | PRO 3150 | 422HBU1251 | Lab Manager
Scholander pressure bomb | WWR Scientific International | 3000 | ND | Analytical lab
Spectrophotometer | Spectronic Unicam | Helios beta, VB081817 | 9423UVB1002E | Analytical lab
Stereo microscope | ZEISS | Stemi DRC | 455003 | Biodiversity center
Stereo microscope | LEICA | MZ12 | 10445819 | Biodiversity center
Stereo microscope | ZEISS | Stemi DRC | 455003 | Biodiversity center
Stereo microscope | NIKON | SMZ-1B | N/A | Analytical lab
Stereo microscope | Wild Heerbrugg | M5A | 165385 | Analytical lab
Stereo microscope | ZEISS | Ste SV 11 | 455056 | Biodiversity center
Stereo microscope | LEICA | MZ12 | 10445819 | Biodiversity center
Stereo microscope | Bausch & Lomb |  |  | Analytical lab
Stereo microscope | Meigi |  |  | Analytical lab
Stereo microscope | Motic | SMZ-143-N2GG |  | Analytical lab
Stereo microscope | Motic | SMZ-143-N2GG |  | Analytical lab
Stereo microscope | Motic | SMZ-143-N2GG |  | Analytical lab
Stereo microscope | Motic | SMZ-143-N2GG |  | Analytical lab
Stereo microscope | Motic | SMZ-143-N2GG |  | Analytical lab
Stereo microscope | Motic | SMZ-143-N2GG |  | Analytical lab
Stereo microscope | Wild Heerbrugg |  |  | Analytical lab
Thermal cycler | Applied Biosystems | 9902 | 2990223106 | Molecular Lab
Thermal cycler | Perkin Cetus | NA | 00208122 | Molecular Lab
Thermix Stirring Hot Plate | FISHER SCIENTIFIC |  | N/A | Analytical lab
Transiluminador 302/365 MN | UVP TFML | TEMN-26/95-0125-01 | UVP TFML-26 NP95-0425-01 | Molecular Lab
Ultrafreezer -80°C | Panasonic | MDF-U33V |  | Molecular Lab
Vacuum pump | Presicion Scientific | DD310 | 11AN-4 | Analytical lab
Vacuum pump | General Electric | SAKH33D16JX | VSJ210025 | Analytical lab
Vacuum pump | Precision Scientific | D110 | 12AW-2 | Analytical lab
Vacuum pump | GE | 5KC36LN83GX | 12AW-2 | Analytical lab
Vortex Mixer | Thermolyne | M37615 |  | Analytical lab
Vortex Mixer (Vortex genie2) | Scientific Industries | 520 | 2-4447006 | Microbial Lab
VWR 1160 Circulating Water Bath Chiller Heater | VWR | 1160 | 110213 | Analytical lab
Water bath | Thermo | 2345 | 300008508 | Analytical lab
Water circulator | HAAKE-D1 | 262 | 262 | Analytical lab
Water Deionization system | Barnstead | Nanopure II | 8811073 | Analytical lab
Water Purification System | Thermo | Pacific R07 |  | Analytical lab
Wiley Laboratory Mill | Thomas-Wiley | 4/3375-E10 | 831206 | Analytical lab
Rain gage Texas Electronics |  | TR-525I | 44527-610 | MRI
Rain gage Texas Electronics |  | TR-525I | 44537-610 | MRI
Anemómeter Met One Instruments |  |  |  | MRI
Right angle mounting Kit |  | CM220 |  | MRI
Ultrasonic anemometer Young |  | 81000V | 2329 | MRI
Temperature and humidity probe |  | HPP45A | 1839 | MRI
Temperature and humidity probe |  | HPP45A | 1838 | MRI
Temperature and humidity probe |  | HPP45A | 1836 | MRI
Mounting base ultrasonic anemometer Young 85000 |  |  | 1203 | MRI
Mounting base ultrasonic anemometer Young 85001 |  |  | 1205 | MRI
Mounting base ultrasonic anemometer Young 85002 |  |  | 1206 | MRI
Mounting base ultrasonic anemometer Young 85003 |  |  | 1204 | MRI
Temperature and humidity probe |  | LWS |  | MRI
Licor Quantum sensor |  |  | Q39038 | MRI
Licor Quantum sensor |  |  | Q39036 | MRI
Licor Quantum sensor |  |  | Q39034 | MRI
Licor Quantum sensor |  |  | Q39033 | MRI
Chasis Compac Rio NI |  |  | 13031CF | MRI
Chasis Compac Rio NI |  |  | 13031CE | MRI
Chasis Compac Rio NI |  |  | 13031B8 | MRI
Chasis Compac Rio NI |  |  | 1303195 | MRI
Chasis Compac Rio NI |  |  | 13031A2 | MRI
Chasis Compac Rio NI |  |  |  | MRI
Logger Compac Rio NI |  | CRIO-9014 | 131E03B | MRI
Logger Compac Rio NI |  | CRIO-9014 | 131E035 | MRI
Logger Compac Rio NI |  | CRIO-9014 | 131E011 | MRI
Module NI |  | NI 9211 | 13095DF | MRI
Module NI |  | NI 9211 | 1309555 | MRI
Module NI |  | NI 9211 | 13095CA | MRI
Module NI |  | NI 9205 | 1325CCB | MRI
Module NI |  | NI 9205 | 131AC9A | MRI
Module NI |  | NI 9205 | 1368AFE | MRI
Module NI |  | NI 9205 | 13398EE | MRI
Module NI |  | NI 9205 | 131ACA6 | MRI
Module NI |  | NI 9401 | 130CA66 | MRI
Module NI |  | NI 9401 | 132FB60 | MRI
Module NI |  | NI 9219 | EA049C | MRI
Module NI |  | NI 9219 | EA6BC9 | MRI
Module NI |  | NI 9219 | EA2C2A | MRI
Logger Campbell |  | CR 1000 | 35180 | MRI